## REPLIES TO QUERIES
PROJECT NAME AND LOAN NO:
RAIL LOGISTICS IMPROVEMENT PROJECT - 91450 TR
TITLE OF WORKS AND RFB NO:
Construction Works for Last-Mile Rail and Road Infrastructure Connectivity to/from Filyos Port and Filyos Industrial Zone AYGM-YAP-2023-WB 03
Replies to Queries and Clarifications
The provisions of this "Replies to Queries and Clarifications" are being issued to provide necessary clarifications on certain aspects of the Request for Bidding document in response to the queries or clarification requests raised by Bidders
No. | RFB Document Page no. | RFB Document Reference Clause | Querry or Clarification Requested by the Bidder |  | Amendment in the RFBdocument is required
1 | 139 | Section VII – Works’ Requirements | Firstly, based on the design drawings, there are two bridges needed to be build(include one road bridge and one railway bridge) in this project. However, we do not find the information about the road bridge both in the tender document and bill of quantity. So we want to make sure that whether the road bridge is included in the work contents of this project. If yes, where is the bill of quantity about the road bridge? | The highway construction in 2019 Employer's Design has been removed from the scope of the project. Please note that Employer's design and the updated design for 2024 are classified in seperate folders. Although the 2019 design does not contain data for the bids, it is included to give an idea about the background of the project. The updated 2024 designs shall be taken as the basis for the tender, and bids shall be submitted according to the 2024 designs. 2019 designs shall not be basis for the BoQ. | No
2 | 122 | Section IV - Bidding Forms | Secondly, in the document FLYS_Bill of Quantities_rev05-EN, the quote currency in the Signalling, Telecommunication and Support Systems of RLIP Filyos is US dollar, however, the quote currency about other works is Turkish Lira. So we want to make sure that whether Signalling, Telecommunication and Support Systems of RLIP Filyos is also use Turkish lira to be quote currency? | Please see Addendum No.2. | Yes
3 | 183 | Section IX – Particular Conditions of Contract | Thirdly, the whole construction period about the project is 730 days. But we do not know the exact date when the project start, Could you please supply us the detail start date about the project? Beside, we also want to know that is there any requirement for the construction period of each construction stage. | Please refer to Sub-Clause 8.1 [Commencement of Work] of Section IX – Particular Conditions of Contract of ITB | No
4 | 40 | Section II – Bid Data Sheet (BDS) | Fourthly, We would like to know about the language of the bid bond, does it have to be in Turkish or is English version acceptable. | The language of the bid shall be English as stated in Clause 10.1 of C. Preparation of Bids of Section II - Bid Data Sheet of ITB | No
5 | 139 | Section VII – Works’ Requirements | To perform this function the Signalling System uses ETCS Subsystem, CTC, Interlocking and Field element Subsystem. There are no specific technical requirements related to ETCS or CTC systems in this document. If possible,could you please provide more detailed technical requirements? | The bidder shall ensure that the proposed signaling system complies with the general functional and technical requirements outlined in the tender documents. The bidder is expected to follow internationally recognized standards and best practices (e.g., IEC 62290) in designing and implementing their solutions. Please also refer to A.2.2.2 General Design Obligations of the Contractor of General Technical Specifications. | No
6 | 139 | Section VII – Works’ Requirements | MMI Control Unit, in a ,,2 out of 2 "safety architecture, Is the 2 out of 2 requirement mandatory? And the MMI only for CTC? | The bidder is expected to align with the requirements outlined in the Technical Specifications and the bidder shall use the quantities in the BoQ in Section 3 - BoQ-Preamble of the Tender Documents. However, Related designs may be modified depending on contractor's reports after the commencement of the work Please also refer to A2.2.2 General Design Obligations of the Contractor in the General Technical Specifications for further guidance. | No
7 | 139 | Section VII – Works’ Requirements | The characteristics of t he industrial PCs shall be the following (minimum requirements): 3. 2 processors, 8 cores/16 threads each 4. 32 GB RAM DDR3 5. 2 Et hernet ports 6. 2 sets of external hard disks in RAID 1 configuration (one set as hot spare); each set with 1TB capacity 7. DVD-RW optical drive 8. A robust IP65 housing The MMI Control Unit shall also include a GPS receiver for time synchronization (72-channel GNSS (GPS/GLONASS/BeiDou) satellite receiver with SBAS correction) and real-time ISDN analyzer for remote diagnostics (ISDN PRI link according to the ITU Q.931 or equivalent, wit h Ethernet LAN port). Are the memory requirements and IP65 mandatory? And the specific usage scenario of this requirement is not very clear. | The specifications provided in the tender documents should serve as a baseline for the industrial PCs. The bidder shall propose configurations that meet or exceed these specifications while aligning with the operational requirements of the signaling system. | No
8 | 139 | Section VII – Works’ Requirements | one topographic and one system monitor for both main work place and for backup work place. The principles for setting up the main workstation and backup workstation are not clear. | The bidder is responsible for main and backup workstations in compliance with the project’s functional requirements as indicated in General Technical Specifications. | No
9 | 139 | Section VII – Works’ Requirements | 3.2.7 Non-safety processes cont roller Can you please provide more information about the requirements of this controller? The purpose is not very clear at present. | The bidder shall ensure that the non-safety processes controller meets the functional requirements specified in the tender documents. The controller should manage auxiliary processes that do not impact the safety-critical operations of the system. Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A2.2.1 General Obligation of the Contractor and A2.2.2.General Design Obligations of the Contractor of General Technical Specifications. | No
10 | 139 | Section VII – Works’ Requirements | The Contractor shall also supply the additional laptop with installed diagnost ics software, which can be used (if necessary) to connect the maintenance workstation via RJ45 connection. The laptop shall have following minimum features: Processor with 5 cores, 2.6GHz or faster 8 GB RAM Hard disk with 320 GB capacity HDMI, RJ45, USB 3.0 ports Operating system Windows 7 Enterprise or latest Is the requirement for this additional laptop mandatory in this project? Are there any specific requirements for the functionality of the installed diagnostic software? | The additional laptop specified in the tender documents is mandatory to ensure compatibility with the signaling system’s maintenance and diagnostic needs. Bidders must ensure that the proposed laptops meet or exceed the specified hardware and software requirements. | No
11 | 139 | Section VII – Works’ Requirements | Design speed 50 km/h For this line speed, is it necessary to consider a temporary speed limit function? (This function requirement is not mentioned in this article) | The bidder should ensure that the signaling system is designed to accommodate the operating speed of 50 km/h. However, Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A.2.2.2 General Design Obligations of the Contractor of General Technical Specifications. | No
12 | 139 | Section VII – Works’ Requirements | The project route starting from the bridge at km 3+360 until the end of the route at km 6+685,51 lies within the boundaries of Filyos Port (Filyos Operation Facility). Access to the facility is strictly restricted and only authorized visitors are allowed inside. It is also forbidden to take photographs of the port or fly drones in the area. As a result of these restrictions, the conditions of half of the route, including soil properties and existing structures, could not be identified. Furthermore, the ground conditions after km 3+770 has not been shared as part of the project documents, stating in Railroad Geological Plan and Profile that “Fill is shown the upper sections because of the fill operations carried out during port construction due to the lack of drilling activities after KM:3+770.” Therefore, a site visit was essential to observe the conditions of the site visually. Considering that the half of the project route lies within a restricted area and conditions of the site cannot be visually observed, we kindly request the information on the soil conditions, as well as geological and hydrogeological properties of the Filyos Operation Facility In order to perform the site visit, we have submitted our application to the Port Authority, however, we were not granted access. As a result, we were only able to conclude the site visit from the beginning of the route until km 3+360 of the route. In addition, we have not been able to take photos near the Filyos Port because the area is under military control and surveillance. | Related information and access to site and permissions will be discussed with the Contractor and the relavent stakeholders after the commencement of the work. Please also refer to Clause A.2.2.2 General Design Obligation of the Contractor and A.2.2.4 Construction Methodology of General Technical Specifications . | No
13 | 139 | Section VII – Works’ Requirements | The project route starting from the bridge at km 3+360 until the end of the route at km 6+685,51 lies within the boundaries of Filyos Port. We have observed that the access to the Filyos Port is done through the Şehit Öğretmen Aybüke Yalçın Bridge or from the south-east of the Facility, which are shown below: Upon observing the bridge, it could not have been concluded if the bridge is suitable structurally or administratively for the transport of heavy construction materials for the construction of the section of the project which lies within the boundaries of the Filyos Port. Therefore, in order to be able to prepare a realistic and effective work schedule, we kindly request the logistical scheme for the entry and exit of the Filyos Port, as to understand which entry and exit points and routes will be used by the Contractor. | Related information and permissions will be discussed with the Contractor and the relevant stakeholders after the commencement of the work. | No
14 | 139 | Section VII – Works’ Requirements | During the site visit, it has been observed that the access to the Filyos Port is strictly restricted and is subject to permission. We stipulate that the access during the construction period will be limited and will be subject to permission as well. In order to be able to prepare a realistic and effective work schedule, it is necessary to estimate the working hours and administrative rules and regulations of the construction site. Therefore, we would like to kindly request information about working conditions and working hours in the Filyos Port. | Related information and access to site and permissions will be discussed with the Contractor and the relavent stakeholders after the commencement of the work. | No
15 | 139 | Section VII – Works’ Requirements | The pipeline pass railway bridge designed between KM=3+849 and KM=3+923 passes over critical infrastructure related to the operation of the facility, and it is indicated in the project documents that the safe approach boundaries indicated by TPAO is 20 meters on each side of the pipelines. Picture-1 Section of the Bridge and Pipes Picture-2 Plan of the Bridge and Pipes. In order to observe the existing alignment of the pipelines, we intended to arrange a site visit at the Filyos Port Facility, however, we have not been granted access to site. Therefore, we kindly request the current alignment of the pipelines. | Related information and access to site and permissions will be discussed with the Contractor and the relevant stakeholders after the commencement of the work. Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A2.2.2.General Design Obligations of the Contractor of General Technical Specifications. | No
16 | 139 | Section VII – Works’ Requirements | For the Filyos River Bridge, which has been designed between KM=3+359.420 and KM=3+746.920, we kindly request the information of the river, regarding the flowrate of the river and the floodplain elevation. | It is Contractor’s responsibility to collect information regarding the hydrological conditions. Please also note that the bidder shall use the unit price descriptions in the preamble to BoQ and the quantities in the BoQ. | No
17 | 139 | Section VII – Works’ Requirements | For the Filyos River Bridge, which has been designed between KM=3+359.420 and KM=3+746.920, we would like to kindly request the information on the permit conditions of DSİ (State Hydraulic Works) for temporary constructions. | It is Contractor’s responsibility to collect information regarding the permits and related design criteria. | No
18 | 139 | Section VII – Works’ Requirements | The pipeline pass railway bridge designed between KM=3+849 and KM=3+923 passes over critical infrastructure related to the operation of the facility, and it is indicated in the project documents that the safe approach boundaries indicated by TPAO is 20 meters on each side of the pipelines. In order to observe the existing alignment of the pipelines, we intended to arrange a site visit at the Filyos Port Facility, however, we have not been granted access to site. If the alignment of the pipelines that is shared in the tender documents represent the existing conditions, the construction of this pillar cannot be realized considering the safe approach boundaries. If this method of construction has to be adhered to, we kindly ask for your guidance on the proposed procedure on how the bridge pier is to be constructed through the existing pipelines. | Related information and access to site and permissions will be discussed with the Contractor and the relevant stakeholders after the commencement of the work. Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A2.2.2.General Design Obligations of the Contractor of General Technical Specifications. | No
19 | 139 | Section VII – Works’ Requirements | The pipeline pass railway bridge designed between KM=3+849 and KM=3+923 passes over critical infrastructure related to the operation of the facility, and it is indicated in the project documents that the safe approach boundaries indicated by TPAO is 20 meters on each side of the pipelines. However, a pillar of the bridge is located on the pipelines, as part of the project seen in the Railroad Application Plan and Profile KM: 3+000,000 – 4+000,000 Picture-1 Section of the Bridge and Pipes. Picture-2 Plan of the Bridge and Pipes. If the alignment of the pipelines that is shared in the tender documents represent the existing conditions, the construction of this pillar cannot be realized considering the safe approach boundaries. In order to avoid the pillar and consequently respect the safe approach boundaries, the structural system of the bridge can be chosen as steel. Therefore, we kindly ask for a revision of the Pipeline Pass Railway Bridge design methodology. | Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A2.2.2.General Design Obligations of the Contractor of General Technical Specifications. | No
20 | 139 | Section VII – Works’ Requirements | 1- Station operator’s workstation (MMI) The characteristics of the industrial PCs shall be the following (minimum requirements): MMI Control Unit, in a „2 out of 2“safety architecture, which shall perform evaluation of the visualization logic, the interface with the SID and recording/playback of the events and visualized items. This unit shall consist of two industrial-based PC computers (primary unit and secondary units); each one of the computers shall include a central processing unit, power supply unit and input/output unit. The operation of the Control Unit shall be based on the Windows operating platform (Windows 7 Enterprise or later), with usage of typical Windows layout and facilities (e.g. point & click, windows with buttons and/or menus etc.). The characteristics of the industrial PCs shall be the following (minimum requirements): 1. 2 processors, 8 cores/16 threads each 2. 32 GB RAM DDR3 3. 2 Ethernet ports 4. 2 sets of external hard disks in RAID 1 configuration (one set as hot spare); each set with 1TB capacity 5. DVD-RW optical drive 6. A robust IP65 housing Question: 6.point; It is indoor equipment that Is it necessary for IP65? | The equipments specified in the tender documents is mandatory to ensure compatibility with the project's needs. Bidders must ensure that the proposed laptops meet or exceed the specified hardware and software requirements. | No
21 | 139 | Section VII – Works’ Requirements | In the tender documents, Section IX – Particular Conditions of Contract, Part A – Contract Data, Sub-Clause 19.2.3.(a) specifies the "amount of insurance required for liability for breach of professional duty limit" as 200,000,000 EUR. Additionally, in the same document, Sub-Clause 19.2.7 states: “The Contractor shall affect professional indemnity insurance, which shall cover the risk of professional negligence in the part of the Permanent Works designed by the Contractor. This insurance shall be for a limit of not less than specified below: a) Limit of liability of any one professional error or omission: Min. 5,000,000.00 EUR (five million Euros) b) The aggregate amount for which the insurer is liable in respect of all damages paid in the period of insurance: Min.15,000,000.00 EUR (fifteen million Euros) c)Period of insurance: Duration of the contract (including DNP)+5 years The Contractor shall use his best endeavors to maintain the professional indemnity insurance in full force and effect until the issue of Performance Certificate. The Contractor undertakes to notify the employer of any extending, renewing or reinstating this insurance.” When we refer to FIDIC to understand the type of insurance required in 19.2.3(a), it is mentioned as follows: “To the extent, if any, that the Contractor is responsible for the design of part of the Permanent Works under Sub-Clause 4.1 [Contractor’s General Obligations], and/or any other design under the Contract, and consistent with the indemnities specified in Clause 17 [Care of the Works and Indemnities]: (a) the Contractor shall effect and maintain professionalindemnity insurance against liability arising out of any act, erroror omission by the Contractor in carrying out the Contractor’sdesign obligations in an amount not less than that stated in theContract Data (if not stated, the amount agreed with theEmployer); and …..” We have identified that both items 19.2.3(a) and 19.2.7 refer to the same professional indemnity insurance but with different limits. We believe there is a duplication in these items. Furthermore, we need to highlight that 200,000,000 EUR is an extremely high amount for professional indemnity. As a result, we kindly request your esteemed authority to remove/delete item 19.2.3.(a) because item 19.2.7 also covers "Insurance for Design" professional indemnity. | The requested insurances in 19.2.3(a) and 19.2.7 are different. Please also refer to Addendum No:3. | Yes
22 | 122 | Section IV - Bidding Forms | The tender documents do not include unit price descriptions for the BOQ items related to electrification and signaling works. We kindly request the publication of unit price descriptions for these works. | Please see Addendum No.2. | Yes
23 | 122 | Section IV - Bidding Forms | We could not find any details regarding onboard systems in the Technical Specifications and BOQ. We kindly request your confirmation that on board supply will not be required. | The bidder shall use the unit price descriptions in the preamble to BoQ and the quantities in the BoQ. Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A.2.2.2 General Design Obligations of the Contractor of General Technical Specifications. | No
24 | 122 | Section IV - Bidding Forms | We did not find any information regarding level crossing systems in the tender project documents. We kindly request your confirmation that these systems are not included. | The bidder shall use the unit price descriptions in the preamble to BoQ and the quantities in the BoQ. Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A.2.2.2 General Design Obligations of the Contractor of General Technical Specifications. | No
25 | 122 | Section IV - Bidding Forms | Regarding track clearance detection systems (Axle Counter and Track Circuit), no specific item related to the track circuit has been found in the Technical Specifications; only axle counters are mentioned. However, the BOQ list includes both axle counters and track circuits. In the reviewed design projects, no axle counters were identified; only track circuits were observed. Could you please clarify which type(s) of equipment are intended to be used as the track clearance detection system in the project? | The bidder shall use the unit price descriptions in the preamble to BoQ and the quantities in the BoQ. Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A.2.2.2 General Design Obligations of the Contractor of General Technical Specifications. | No
26 | 139 | Section VII – Works’ Requirements | The Technical Specifications refer to the "Signalling Rulebook" and "Traffic Regulation Rulebook" documents. However, these documents are not included in the tender documents. We kindly request the publication of these documents. | The regulations of the relevant authorities will be taken into consideration. Please refer to Clause A.2.5. Standards and Regulations of General Technical Specifications. | No
27 | 122 | Section IV - Bidding Forms | The Technical Specifications mention an equipment called "local switch throwing." We kindly request a full definition and detailed information regarding this equipment. | The bidder shall use the unit price descriptions in the preamble to BoQ and the quantities in the BoQ. Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A.2.2.2 General Design Obligations of the Contractor of General Technical Specifications. | No
28 | 122 | Section IV - Bidding Forms | The Technical Specifications state that interlocking and FEI equipment must have a "2 out of 3" or "2 times (2 out of 2)" architecture. We kindly request your confirmation on whether an interlocking system with SIL4 certification but a different architecture will not be accepted. | The bidder is expected to align with the requirements outlined in the Technical Specifications and the bidder shall use the quantities in the BoQ in Section 3 - BoQ-Preamble of the Tender Documents. However, related designs may be modified depending on contractor's reports after the commencement of the work Please also refer to A2.2.2 General Design Obligations of the Contractor in the General Technical Specifications for further guidance. | No
29 | 122 | Section IV - Bidding Forms | The signaling design documents have been provided in PDF format, and due to their large size, they are difficult to review. We kindly request the sharing of these documents in DWG format. | Related documents shall not be shared. Although the 2019 design does not contain data for the bids, it is included to give an idea about the background of the project. Please also refer to Clause A.2.2.2 General Design Obligation of the Contractor and A.2.2.4 Construction Metedology of General Technical Specifications. | No
30 | 122 | Section IV - Bidding Forms | It is stated that the MMI Control Unit must have a "2-out of 2 safety architecture," but no SIL level has been specified. This implies that it will not be subject to a certification process. Could you please confirm this? | All certification requirements, including any necessary safety integrity level certifications, fall under the responsibility of the bidder. Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A2.1 General Obligation of the Contractor and A2.2.2.General Design Obligations of the Contractor of General Technical Specification. | No
31 | 122 | Section IV - Bidding Forms | The BOQ includes separate items for CTC; however, upon reviewing the Technical Specifications, it appears that an interface will be created with the existing CTC rather than establishing a separate one. If a separate CTC is to be implemented as indicated in the BOQ, we kindly request the details regarding its requirements to be provided. | Please also note that the bidder shall use the unit price descriptions in the preamble to BoQ and the quantities in the BoQ. Please also refer to Clause A.2.2.2 General Design Obligation of the Contractor and A.2.2.4 Construction Methodology of General Technical Specifications. | No
32 | 122 | Section IV - Bidding Forms | Upon reviewing the projects, we identified two transformer substations. Could you please confirm whether these substations are currently in use or will be included within the scope of this tender? | The bidder shall use the unit price descriptions in the preamble to BoQ and the quantities in the BoQ. Please also note that related designs may be modified depending on contractor's reports after the commencement of the work. | No
33 | 122 | Section IV - Bidding Forms | Will a new SCADA center be established for the energy supply SCADA system, or will it be integrated into the existing TCDD network? If it will be integrated into the existing network, what are the details and features of the current SCADA system? | The bidder shall use the unit price descriptions in the preamble to BoQ and the quantities in the BoQ. Please also note that related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A2.2.1 General Obligation of the Contractor and A2.2.2.General Design Obligations of the Contractor of General Technical Specifications. | No
34 | 122 | Section IV - Bidding Forms | In the section between km 1+200 and km 3+360, where Q80 DSM columns with L=20 m and S: 2.4*2.4 (Ø=80 cm) are specified, it has been observed that the soil structure includes a sand-clay mixture. Considering the presence of clay layers in the soil and the need to achieve the required high compressive strengths in the columns, it is envisaged that the amount of cement required will exceed the estimated quantity (i.e. over 300 kg/m). Could you please confirm whether the additional cement consumption will be paid for separately? | Any additional cement consumption beyond the quantities specified in the BoQ will be assessed based on the contractor's reports and site conditions after the commencement of the work. Should the design or site conditions require modifications, such adjustments will be reviewed and considered in accordance with the project’s specifications. Please also refer to A2.1 General Obligation of the Contractor and A2.2.2.General Design Obligations of the Contractor of General Technical Specification. | No
35 | 139 | Section VII – Works’ Requirements | At Gökçeler Station, the expropriation boundary has been identified as shown below in 01.Tender Documents. 01. Alignment – Railroad Application Plan and Profile -Drawing No: FLYS-AYGM-PPR-DMR- 001-K-000. It has been identified that a road lieswithin the expropriation boundary. For reference, please see the attached photograph. We have seen during the site visit that this road is currently in use. Therefore, the suggested expropriation limits will prevent the use of the road. Could you clarify if the road will be realigned? In addition, could you please clarify whether if the road realignment works will be included in the scope of the Contractor? | Related designs may be modified depending on contractor's reports after the commencement of the work. Please also refer to A2.2.2.General Design Obligations of the Contractor of General Technical Specifications. | No
36 | 139 | Section VII – Works’ Requirements | During our site visit, we observed a potential conflict point where the proposed railway line intersects with a vehicle road near kilometer marker 4+000, just after crossing the Pipeline Pass Railroad Bridge. This intersection appears to require a bridge for the railway to cross the road. To clarify this situation, please provide information on the following: - Will a bridge be constructed at this location for the railway to cross the road? - Will the existing vehicle road be relocated? If so, is this road relocation included in the project's scope of work? For your reference, we have attached a photograph with the area of concern marked in red. | Related designs may be modified depending on contractor's reports and discussion with the relevant Parties after the commencement of the work. Please also refer to A2.2.1 General Obligation of the Contractor and A2.2.2.General Design Obligations of the Contractor of General Technical Specifications. | No
37 | 139 | Section VII – Works’ Requirements | In the event of intersection with existing roads within the port facility, is the relocation of these roads included within the project scope? If road relocation is included, please provide a detailed breakdown of the associated works, specifically addressing items such as subbase preparation and asphalt laying. | Related designs may be modified depending on contractor's reports and discussion with the relevant Parties after the commencement of the work. Please also refer to A2.2.1 General Obligation of the Contractor and A2.2.2.General Design Obligations of the Contractor of General Technical Specifications. | No